## Sheet1
Bessaker | # errorer
62 Feeding fault | 863
21 Cable twisted | 829
9 Generator Heating | 823
60 Mains failure | 597
25 Fault yaw inverter | 428
222:1 Turbine reset (power failure) | 300
220 Processor reset | 280
42 Pitch control error | 254
29 Anemonmeter Interface | 160
15 Turbine moist | 157
67 Overtemperature | 141
66 Fault rectifier | 91
72 Air gap monitoring | 74
48 Fault speed sensor | 59
31 Tower oscillation | 41
64 Overcurrent inverter | 37
Valsneset
62 Feeding fault | 89
21 Cable twisted | 217
9 Generator Heating | 79
60 Mains failure | 85
25 Fault yaw inverter | 123
222:1 Turbine reset (power failure) | 27
222:1 Turbine reset (quit button) | 11773
220 Processor reset | 24
42 Pitch control error | 55
29 Anemonmeter Interface | 63
15 Turbine moist | 2
67 Overtemperature | 9
66 Fault rectifier | 1
72 Air gap monitoring | 3
48 Fault speed sensor | 8
31 Tower oscillation | 0
64 Overcurrent inverter | 0
70 Generator overtemperature | 43
Ytre Vika
62 Feeding fault | 10
21 Cable twisted | 164
9 Generator Heating | 32
60 Mains failure | 0
25 Fault yaw inverter | 9
222:1 Turbine reset (power failure) | 17
222:1 Turbine reset (quit button) | 0
220 Processor reset | 16
42 Pitch control error | 9
29 Anemonmeter Interface | 5
15 Turbine moist | 0
67 Overtemperature | 15
66 Fault rectifier | 20
72 Air gap monitoring | 0
48 Fault speed sensor | 0
31 Tower oscillation | 0
64 Overcurrent inverter | 17
70 Generator overtemperature | 36