## Sheet1
Bessaker | # errorer
62 Feeding fault | 863
21 Cable twisted | 829
9 Generator Heating | 823
60 Mains failure | 597
25 Fault yaw inverter | 428
222:1 Turbine reset (power failure) | 300
220 Processor reset | 280
42 Pitch control error | 254
29 Anemonmeter Interface | 160
15 Turbine moist | 157
67 Overtemperature | 141
66 Fault rectifier | 91
72 Air gap monitoring | 74
48 Fault speed sensor | 59
31 Tower oscillation | 41
64 Overcurrent inverter | 37
Skomakerfjellet